## Slide 1: Sales Gas Pipeline Part II
Ref.1: Ikoku, Natural Gas Production Engineering, John Wiley & Sons, 1984, Chapter 7.
Ref.2: Menon, Gas Pipeline Hydraulic, Taylor & Francis, 2005, Chapter 3.

## Slide 2: Single Phase Gas Flow Series Pipeline with Elevation Change
P2
P1
P3
P4
P5
d1 , L1
d2 , L2
d3 , L3
d4 , L4
DZ1
DZ2
DZ3
DZ4

## Slide 3: Single Phase Gas Flow Series Pipeline with Elevation Change

## Slide 4: Single Phase Gas Flow Series Pipeline with Elevation Change

## Slide 5: Single Phase Gas Flow Series Pipeline with Elevation Change

## Slide 6: Single Phase Gas Flow Series Pipeline with Elevation Change

## Slide 7: Single Phase Gas Flow Parallel Pipeline with Elevation Change
P1
P2
LeA , dA , qA
LeB , dB , qB
LeC , dC , qC

## Slide 8: Single Phase Gas Flow Parallel Pipeline with Elevation Change

## Slide 9: Single Phase Gas Flow Looped Pipeline with Elevation Change
P2
P1
LeA , dA , qA
LeB , dB , qB
LeC , dC , qC
Px

## Slide 10: Single Phase Gas Flow Looped Pipeline For Increasing Capacity
P2
P1
LeA , dA , qA
LeB , dB , qB
LeC , dC , qC
Px

## Slide 11: Single Phase Gas Flow Looped Pipeline For Increasing Capacity
P2
P1
LeA , dA , qA
LeB , dB , qB
LeC , dC , qC
Px

## Slide 12: Single Phase Gas Flow Optimum Diameter of Looped Pipeline
P2
P1
LeA , dA , qA
LeB , dB , qB
LeC , dC , qC
Px
Assume that the cost of a pipe with one inch diameter and one foot length is Cbase

## Slide 13: Single Phase Gas Flow Example 1: Description
P2
P1
P3
P4
P5
d1 , L1
d2 , L2
d3 , L3
d4 , L4
DZ1
DZ2
DZ3
DZ4
For the above pipeline, calculate the exit pressure of each segments (P2, P3, P4, P5) based on Weymouth equation and Hysys software.
Feed specifications:
  T1=50 oF, P1=1000 psia, qsc=200 MMscfd, C1=90%, C2=10% (mole)
Pipeline specifications:
  L1=20 km, ΔZ1=2000 m, L2=30 km, ΔZ2=-500, L3=15 km, ΔZ3=600, L4=50 km, ΔZ4=-800, d1= d2= d3= d4= 20 in, T5=35 oF, E=0.95(in Weymouth)

## Slide 14: Single Phase Gas Flow Example 1: Solution
Hysys

## Slide 15: Single Phase Gas Flow Example 1: Solution
Hysys
Hysys
Hysys

## Slide 16: Single Phase Gas Flow Example 2: Description
P2
P1
LA , dA
LB , dB
LC , dC
Px
An old pipeline has the following specification:
Feed specifications:
  T1=50 oC, P1=1000 psia, qold =1500 MMscfd, C1=90%, C2=10% (mole)
Pipeline specifications:
  LA+LC =100 km, ΔZ=0, dA= dC= 42 in, T2=42 oC, E=0.95(in Weymouth)
Calculate the outlet pressure (P2)
The pipeline capacity is increased by 25% (qnew=1875 MMscfd). Calculate the optimum length and diameter of the looped pipeline.

## Slide 17: Single Phase Gas Flow Example 2: Solution

## Slide 18: Single Phase Gas Flow Example 2: Solution